**Delivery Schedule/ Schedule of Requirements**

The delivery schedule expressed as days specifies hereafter the date of delivery to destination point. In column “the delivery schedule”, the Procuring Entity shall indicate the date from which schedule starts. It should be either the date of award, or the date of signing of Contract, or the date of opening of letter of credit, or the date of confirming the letter of credit (subject to circumstances). The Form of Bid shall specify only reference to that schedule.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item No.** | **Brief Description of Goods** | **Quantity** | **Place of Delivery** | **Procuring Entity’s Completion Schedule**  **(----days as of** signing of the contract | **Bidder’s Offered Completion Schedule** | |
| **Earliest Delivery** | **Latest Delivery** |
| **1** | Supply and Delivery of Six (6) Electric Vehicle Charging Stations as follows:   1. Charge mode: Level 3 DC Fast Charging Station 2. Output power: 22kW - 25kW 3. Connectors: Dual port (1 x CHAdeMO and 1 x CCS2) - fully sealed 4. Input voltage: 3-phase, 277/480Vac ±10%, 60Hz OR 230/400 Vac ±10%, 60Hz 5. Output voltage range: 200 – 500Vdc (CCS2) and 50 – 500Vdc (CHAdeMO) 6. Protection: overload, ground fault, overvoltage, output overcurrent, output short-circuit protection, temperature rise, surge protection 7. Installation method: Floor stand with pedestal and Wall mount 8. Charge cable length: ≥ 18"/5.5m 9. Features: RFID card reader for user authentication or QR or NFC (ISO 14443) 10. Network connectivity: OCPP compliant 11. Communication Protocol: OCPP 1.5 S / 1.6 J 12. Protection: UL 50E - 3R, IEC 60529, IP 54 - IK 10 vandal-proof casing 13. Certification: UL 2202, UL 2231, UL 2594, RoHS, IEEE 519 14. Display screen: OLED/ LCD IPS – full colour 15. Connectivity: Wi-fi/3G/4G, Ethernet 16. Warranty: 3 years | 6 | 295 Quamina Street, South Cummingsburg, Georgetown, Region 4 | **120** |  |  |

Duly authorized to sign for and on behalf of

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(N*ame of Bidder*)

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(*Full name) (Title) (Signature and seal)*

20