## SUMMARY
Design, Supply, Installation and Commissioning of Solar Photovoltaic Systems and Distribution Networks for 21 Hinterland Communities in Guyana
| Brief Description of Goods | Total Cost (GYD
1 | Lot 1:Design, Supply, Installation and Commissioning of Solar Photovoltaic Systems and Distribution Networks for Regions 1 and 4 | 0
2 | Lot 2: Design, Supply, Installation and Commissioning of Solar Photovoltaic Systems and Distribution Networks for Regions 7 and 8 | 0
3 | Lot 3: Design, Supply, Installation and Commissioning of Solar Photovoltaic Systems and Distribution Networks for Region 9 | 0
4 | Lot 4: Design, Supply, Installation and Commissioning of Solar Photovoltaic Systems and Distribution Networks for Region 10 | 0
| Grand Total | 0
Duly authorized to sign for and on behalf of
____________________________________________________________________________
(Name of Bidder)
_________________________ _________________________ ____________________________________
(Full name (Title) |  | (Signature and seal)
NOTE: Bidders are required to (a) enter the bid prices electronically , (b) print out the completed Price Schedule and (c) include it in the hardcopy submission to NPTA on the day of tender opening. Bidders must submit a soft PDF version for the Price Schedule with the bid submission on the flash drive.

## Lot 1
Lot 1: Design, Supply, Installation and Commissioning of Solar Photovoltaic Systems and Distribution Networks for Hinterland Communities in Guyana in Regions 1,3,4
Item No. | Brief Description of Goods | Quantity (to be determined by bidder) | Unit Price | Delivery/ Installation Cost | Total Cost (GYD
Design, Supply, Installation and Commissioning of a 41.5kWp Solar Photovoltaic inclusive of a 187kWh energy storage system in the village of Kariako, Region One
1 | a. PV modules |  |  |  | 0
2 | b) Ground mounting structure |  |  |  | 0
3 | c) PV Inverters |  |  |  | 0
4 | d)Charge Controllers (If required) |  |  |  | 0
5 | e)Hybrid Inverters |  |  |  | 0
6 | f)Batteries and Management System |  |  |  | 0
7 | g)Web-based system energy monitoring system |  |  |  | 0
8 | h)Cabling and miscellaneous components |  |  |  | 0
9 | i) Grounding system and overcurrent protection devices |  |  |  | 0
10 | j) Fire Extinguisher |  |  |  | 0
11 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation) |  |  |  | 0
12 | i) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters |  |  |  | 0
13 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site, |  |  |  | 0
14 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System. |  |  |  | 0
15 | Design, Supply & Construction of an Overhead 1km Low Voltage 120/240Vac Electrical Distribution Network at Karaiko:
16 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings). |  |  |  | 0
17 | Supply and stringing of 19 strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network. |  |  |  | 0
18 | Supply and Installation of service drops from the LV distribution network to the respective buildings |  |  |  | 0
19 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered) |  |  |  | 0
20 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit) |  |  |  | 0
21 | Vegetation Clearing along distribution network/cable route |  |  |  | 0
22 | Transportation of Material |  |  |  | 0
23 | Design, Supply, Installation and Commissioning of a 51kWp Solar Photovoltaic inclusive of a 265kWh energy storage system in White Water and Arakuru, Region 1 as follows:
24 | a) PV modules |  |  |  | 0
25 | b) Ground mounting structure |  |  |  | 0
26 | c) Inverters |  |  |  | 0
27 | d) Charge Controllers (If required) |  |  |  | 0
28 | e) Hybrid Inverters |  |  |  | 0
29 | f) Batteries and Management System |  |  |  | 0
30 | g) Web-based system energy monitoring system |  |  |  | 0
31 | h) Cabling and miscellaneous components |  |  |  | 0
32 | i) Grounding system and overcurrent protection devices |  |  |  | 0
33 | j) Fire Extinguisher |  |  |  | 0
34 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation) |  |  |  | 0
35 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters |  |  |  | 0
36 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site |  |  |  | 0
37 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System |  |  |  | 0
38 | Design, Supply & Construction of an Overhead Electricity Distribution Network in White Water, Region 1
39 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings). |  |  |  | 0
40 | Supply and stringing of 19 strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network |  |  |  | 0
41 | Supply and Installation of service drops from the LV distribution network to the respective buildings |  |  |  | 0
42 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered) |  |  |  | 0
43 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit) |  |  |  | 0
44 | Vegetation Clearing along distribution network/cable route |  |  |  | 0
45 | Transportation of Material |  |  |  | 0
46 | Design, Supply, Installation and Commissioning of a 41.5kWp Solar Photovoltaic inclusive of a 187kWh energy storage system in Mashabo Region, 1 as follows:
47 | a) PV modules |  |  |  | 0
48 | b) Ground mounting structure |  |  |  | 0
49 | c) PV Inverters |  |  |  | 0
50 | d) Charge Controllers (If required) |  |  |  | 0
51 | e) Hybrid Inverters |  |  |  | 0
52 | f) Batteries and Management System |  |  |  | 0
53 | g) Web-based system energy monitoring system |  |  |  | 0
54 | h) Cabling and miscellaneous components |  |  |  | 0
55 | i) Grounding system and overcurrent protection devices |  |  |  | 0
56 | j) Fire Extinguisher |  |  |  | 0
57 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation) |  |  |  | 0
58 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters |  |  |  | 0
59 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site |  |  |  | 0
60 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System. |  |  |  | 0
61 | Design, Supply & Construction of an Overhead Low Voltage 120/240Vac Electrical Distribution Network at Mashabo, Region 1:
62 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings). |  |  |  | 0
63 | Supply and stringing of 19 strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network |  |  |  | 0
64 | Supply and Installation of service drops from the LV distribution network to the respective buildings |  |  |  | 0
65 | Supply and Installation of Complete Guy Sets Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered) |  |  |  | 0
66 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit) |  |  |  | 0
67 | Vegetation Clearing along distribution network/cable route |  |  |  | 0
68 | Transportation of Material |  |  |  | 0
69 | Design, Supply, Installation and Commissioning of a 51kWp Solar Photovoltaic inclusive of a 265kWh energy storage system in St. Cuthbert’s Mission, Region 4 as follows
70 | a) PV modules |  |  |  | 0
71 | b) Ground mounting structure |  |  |  | 0
72 | c) PV Inverters |  |  |  | 0
73 | d) Charge Controllers (If required) |  |  |  | 0
74 | e) Hybrid Inverters |  |  |  | 0
75 | f) Batteries and Management System |  |  |  | 0
76 | g) Web-based system energy monitoring system |  |  |  | 0
77 | h) Cabling and miscellaneous components |  |  |  | 0
78 | i) Grounding system and overcurrent protection devices |  |  |  | 0
79 | j) Fire Extinguisher |  |  |  | 0
80 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation) |  |  |  | 0
81 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters |  |  |  | 0
82 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site, |  |  |  | 0
83 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System. |  |  |  | 0
84 | Design, Supply & Construction of a 0.85km Overhead Low Voltage 120/240Vac Electrical Distribution Network at St. Cuthbert’s Mission, Region 4:
85 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings). |  |  |  | 0
86 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network |  |  |  | 0
87 | Supply and Installation of service drops from the LV distribution network to the respective buildings |  |  |  | 0
88 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered) |  |  |  | 0
89 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit) |  |  |  | 0
90 | Vegetation Clearing along distribution network/cable route |  |  |  | 0
91 | Transportation of Material |  |  |  | 0
TOTAL FOR LOT 1

## Lot 2
Lot 2: Design, Supply, Installation and Commissioning of Solar Photovoltaic Systems and Distribution Networks for Hinterland Communities in Guyana in Regions 7 and 8
Item No. | Brief Description of Goods | Quantity (to be determined by bidder) | Unit Price | Delivery/ Installation Cost | Total Cost (GYD
Design, Supply, Installation and Commissioning of a 106kWp Solar Photovoltaic inclusive of a 458kWh energy storage system in Kamarang Settlement, Region 7 as follows:
1 | a) PV modules
2 | b) Ground mounting structure
3 | c) PV Inverters
4 | d) Charge Controllers (If required)
5 | e) Hybrid Inverters
6 | f) Batteries and Management System
7 | g) Web-based system energy monitoring system
8 | h) Cabling and miscellaneous components
9 | i) Grounding system and overcurrent protection devices
10 | j) Fire Extinguisher
11 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
12 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
13 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
14 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System
15 | Design, Supply & Construction of an Overhead Electrical Transmission (2.8km) and Distribution (2) Network at Kamarang Settlement, Region 7
16 | Single-Phase step-up Pad/Pole mounted Transformer inclusive of all hardware and foundation works, 120 kVA, Inverter Voltage/13.8kV, 60Hz
17 | Single-Phase distribution Pole mounted Transformer inclusive of all hardware, 25 kVA, 13.8kV/120/240V, 60Hz (7 – 25kVA at Kamarang Settlement)
18 | Supply and Installation of Primary and Secondary Poles (12 meters and 9 meters respectively) inclusive of all hardware
19 | Takeoff structure from PV Farm inclusive of pole, RCO, standoff brackets with insulators, etc
20 | Supply and Installation of Rural Cut-Out (100Amps) 15 kV
21 | Supply and Stringing of Aluminum Conductor 7 Strand 1/0 AWG, Poppy for the two (2) wire MV network and all required hardware
22 | Supply and stringing of 19 strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
23 | Supply and Installation of service drops from the LV distribution network to the respective buildings
24 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
25 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
26 | Vegetation Clearing along distribution network/cable route
27 | Transportation of Material
28 | Design, Supply, Installation and Commissioning of a 51kWp Solar Photovoltaic inclusive of a 265kWh energy storage system in Issano/Tasserene, Region 7 as follows:
29 | a) PV modules
30 | b) Ground mounting structure
31 | c) PV Inverters
32 | d) Charge Controllers (If required)
33 | e) Hybrid Inverters
34 | f) Batteries and Management System
35 | g) Web-based system energy monitoring system
36 | h) Cabling and miscellaneous components
37 | i) Grounding system and overcurrent protection devices
38 | j) Fire Extinguisher
39 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
40 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
41 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
42 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
43 | Design, Supply & Construction of a 1.82km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Issano/Tasserene, Region 7
44 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
45 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
46 | Supply and Installation of service drops from the LV distribution network to the respective buildings
47 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
48 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
49 | Vegetation Clearing along distribution network/cable route
50 | Transportation of Material
51 | Design, Supply, Installation and Commissioning of a 41.5kWp Solar Photovoltaic inclusive of a 187kWh energy storage system in Kaburi, Region 7 as follows
52 | a) PV modules
53 | b) Ground mounting structure
54 | c) PV Inverters
55 | d) Charge Controllers (If required)
56 | e) Hybrid Inverters
57 | f) Batteries and Management System
58 | g) Web-based system energy monitoring system
59 | h) Cabling and miscellaneous components
60 | i) Grounding system and overcurrent protection devices
61 | j) Fire Extinguisher
62 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
63 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
64 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site,
65 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
66 | Design, Supply & Construction of a 0.5km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Kaburi, Region 7
67 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
68 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
69 | Supply and Installation of service drops from the LV distribution network to the respective buildings
70 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
71 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
72 | Vegetation Clearing along distribution network/cable route
73 | Transportation of Material
74 | Design, Supply, Installation and Commissioning of a 87.5kWp Solar Photovoltaic inclusive of a 395kWh energy storage system in Karrau, Region 7 as follows
75 | a) PV modules
76 | b) Ground mounting structure
77 | c) PV Inverters
78 | d) Charge Controllers (If required)
79 | e) Hybrid Inverters
80 | f) Batteries and Management System
81 | g) Web-based system energy monitoring system
82 | h) Cabling and miscellaneous components
83 | i) Grounding system and overcurrent protection devices
84 | j) Fire Extinguisher
85 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
86 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
87 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
88 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
89 | Design, Supply & Construction of a 0.6km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Kaburi, Region 7:
90 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
91 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
92 | Supply and Installation of service drops from the LV distribution network to the respective buildings
93 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
94 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
95 | Vegetation Clearing along distribution network/cable route
96 | Transportation of Material
97 | Design, Supply, Installation and Commissioning of a 51kWp Solar Photovoltaic inclusive of a 265kWh energy storage system in Micobie, Region 8 as follows:
98 | a) PV modules
99 | b) Ground mounting structure
100 | c) PV Inverters
101 | d) Charge Controllers (If required)
102 | e) Hybrid Inverters
103 | f) Batteries and Management System
104 | g) Web-based system energy monitoring system
105 | h) Cabling and miscellaneous components
106 | i) Grounding system and overcurrent protection devices
107 | j) Fire Extinguisher
108 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
109 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
110 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
111 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System
112 | Design, Supply & Construction of a 1km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Micobie, Region 8
113 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
114 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
115 | Supply and Installation of service drops from the LV distribution network to the respective buildings
116 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
117 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
118 | Vegetation Clearing along distribution network/cable route
119 | Transportation of Material
120 | Design, Supply, Installation and Commissioning of a 41.5kWp Solar Photovoltaic inclusive of a 187kWh energy storage system in Kaibarupai, Region 8 as follows
121 | a) PV modules
122 | b) Ground mounting structure
123 | c) PV Inverters
124 | d) Charge Controllers (If required)
125 | e) Hybrid Inverters
126 | f) Batteries and Management System
127 | g) Web-based system energy monitoring system
128 | h) Cabling and miscellaneous components
129 | i) Grounding system and overcurrent protection devices
130 | j) Fire Extinguisher
131 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
132 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
133 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
134 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
135 | Design, Supply & Construction of a 0.7km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Kaibarupai, Region 8
136 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
137 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
138 | Supply and Installation of service drops from the LV distribution network to the respective buildings
139 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
140 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
141 | Vegetation Clearing along distribution network/cable route
142 | Transportation of Material
TOTAL FOR LOT 2

## Lot 3
Lot 3: Design, Supply, Installation and Commissioning of Solar Photovoltaic Systems and Distribution Networks for Hinterland Communities in Guyana in Region 9
Item No. | Brief Description of Goods | Quantity | Unit Price | Delivery/ Installation Cost | Total Cost (GYD
Design, Supply, Installation and Commissioning of a 46kWp Solar Photovoltaic inclusive of a 208kWh energy storage system in Shulinab, Region 9 as follows:
1 | a) PV modules
2 | b) Ground mounting structure
3 | c) PV Inverters
4 | d) Charge Controllers (If required)
5 | e) Hybrid Inverters
6 | f) Batteries and Management System
7 | g) Web-based system energy monitoring system
8 | h) Cabling and miscellaneous components
9 | i) Grounding system and overcurrent protection devices
10 | j) Fire Extinguisher
11 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
12 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
13 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
14 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
15 | Design, Supply & Construction of a 1.4km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Shulinb, Region
16 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
17 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
18 | Supply and Installation of service drops from the LV distribution network to the respective buildings
19 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
20 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
21 | Vegetation Clearing along distribution network/cable route
22 | Transportation of Material
23 | Design, Supply, Installation and Commissioning of a 41.5kWp Solar Photovoltaic inclusive of a 187kWh energy storage system in Parabara, Region 9 as follows:
24 | a) PV modules
25 | b) Ground mounting structure
26 | c) PV Inverters
27 | d) Charge Controllers (If required)
28 | e) Hybrid Inverters
29 | f) Batteries and Management System
30 | g) Web-based system energy monitoring system
31 | h) Cabling and miscellaneous components
32 | i) Grounding system and overcurrent protection devices
33 | j) Fire Extinguisher
34 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
35 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
36 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
37 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
38 | Design, Supply & Construction of a 0.6km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Parabara, Region 9:
39 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
40 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
41 | Supply and Installation of service drops from the LV distribution network to the respective buildings
42 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
43 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
44 | Vegetation Clearing along distribution network/cable route
45 | Transportation of Material
46 | Design, Supply, Installation and Commissioning of a 41.5kWp Solar Photovoltaic inclusive of a 187kWh energy storage system in Kwatamang, Region 9 as follows
47 | a) PV modules
48 | b) Ground mounting structure
49 | c) PV Inverters
50 | d) Charge Controllers (If required)
51 | e) Hybrid Inverters
52 | f) Batteries and Management System
53 | g) Web-based system energy monitoring system
54 | h) Cabling and miscellaneous components
55 | i) Grounding system and overcurrent protection devices
56 | j) Fire Extinguisher
57 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
58 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
59 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
60 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
61 | Design, Supply & Construction of a 0.8km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Kwatamang, Region 9:
62 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
63 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
64 | Supply and Installation of service drops from the LV distribution network to the respective buildings
65 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
66 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
67 | Vegetation Clearing along distribution network/cable route
68 | Transportation of Material
69 | Design, Supply, Installation and Commissioning of a 51kWp Solar Photovoltaic inclusive of a 265kWh energy storage system in Sawariwau, Region 9 as follows:
70 | a) PV modules
71 | b) Ground mounting structure
72 | c) PV Inverters
73 | d) Charge Controllers (If required)
74 | e) Hybrid Inverters
75 | f) Batteries and Management System
76 | g) Web-based system energy monitoring system
77 | h) Cabling and miscellaneous components
78 | i) Grounding system and overcurrent protection devices
79 | j) Fire Extinguisher
80 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
81 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
82 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
83 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
84 | Design, Supply & Construction of a 0.95km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Sawariwau, Region 9:
85 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
86 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
87 | Supply and Installation of service drops from the LV distribution network to the respective buildings
88 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
89 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
90 | Vegetation Clearing along distribution network/cable route
91 | Transportation of Material
92 | Design, Supply, Installation and Commissioning of a 51kWp Solar Photovoltaic inclusive of a 265kWh energy storage system in Maruranau, Region 9 as follows
93 | a) PV modules
94 | b) Ground mounting structure
95 | c) PV Inverters
96 | d) Charge Controllers (If required)
97 | e) Hybrid Inverters
98 | f) Batteries and Management System
99 | g) Web-based system energy monitoring system
100 | h) Cabling and miscellaneous components
101 | i) Grounding system and overcurrent protection devices
102 | j) Fire Extinguisher
103 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
104 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
105 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
106 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
107 | Design, Supply & Construction of a 0.5km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Maruranau, Region 9:
108 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
109 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
110 | Supply and Installation of service drops from the LV distribution network to the respective buildings
111 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
112 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
113 | Vegetation Clearing along distribution network/cable route
114 | Transportation of Material
115 | Design, Supply, Installation and Commissioning of a 41.5kWp Solar Photovoltaic inclusive of a 187kWh energy storage system in Potarinau, Region 9 as follows:
116 | a) PV modules
117 | b) Ground mounting structure
118 | c) PV Inverters
119 | d) Charge Controllers (If required)
120 | e) Hybrid Inverters
121 | f) Batteries and Management System
122 | g) Web-based system energy monitoring system
123 | h) Cabling and miscellaneous components
124 | i) Grounding system and overcurrent protection devices
125 | j) Fire Extinguisher
126 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
127 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
128 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
129 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
130 | Design, Supply & Construction of a 0.515km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Potarinau, Region 9:
131 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
132 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
133 | Supply and Installation of service drops from the LV distribution network to the respective buildings
134 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
135 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
136 | Vegetation Clearing along distribution network/cable route
137 | Transportation of Material
138 | Design, Supply, Installation and Commissioning of a 41.5kWp Solar Photovoltaic inclusive of a 187kWh energy storage system in Rupertee, Region 9 as follows:
139 | a) PV modules
140 | b) Ground mounting structure
141 | c) PV Inverters
142 | d) Charge Controllers (If required)
143 | e) Hybrid Inverters
144 | f) Batteries and Management System
145 | g) Web-based system energy monitoring system
146 | h) Cabling and miscellaneous components
147 | i) Grounding system and overcurrent protection devices
148 | j) Fire Extinguisher
149 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
150 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
151 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
152 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
153 | Design, Supply & Construction of a 0.7km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Rupertee, Region 9:
154 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
155 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
156 | Supply and Installation of service drops from the LV distribution network to the respective buildings
157 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
158 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
159 | Vegetation Clearing along distribution network/cable route
160 | Transportation of Material
161 | Design, Supply, Installation and Commissioning of a 41.5kWp Solar Photovoltaic inclusive of a 187kWh energy storage system in Katoonarib, Region 9 as follows
162 | a) PV modules
163 | b) Ground mounting structure
164 | c) PV Inverters
165 | d) Charge Controllers (If required)
166 | e) Hybrid Inverters
167 | f) Batteries and Management System
168 | g) Web-based system energy monitoring system
169 | h) Cabling and miscellaneous components
170 | i) Grounding system and overcurrent protection devices
171 | j) Fire Extinguisher
172 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
173 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
174 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
175 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
176 | Design, Supply & Construction of a 0.5km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Katoonarib, Region 9:
177 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
178 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
179 | Supply and Installation of service drops from the LV distribution network to the respective buildings
180 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
181 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
182 | Vegetation Clearing along distribution network/cable route
183 | Transportation of Material
TOTAL for LOT 3

## Lot 4
Lot 4: Design, Supply, Installation and Commissioning of Solar Photovoltaic Systems and Distribution Networks for Hinterland Communities in Guyana in Region 10
Item No. | Brief Description of Goods | Quantity | Unit Price | Delivery/ Installation Cost | Total Cost (GYD
1 | Design, Supply, Installation and Commissioning of a 41.5kWp Solar Photovoltaic inclusive of a 187kWh energy storage system in Kimbia, Region 10 as follows:
2 | a) PV modules
3 | b) Ground mounting structure
4 | c) PV Inverters
5 | d) Charge Controllers (If required)
6 | e) Hybrid Inverters
7 | f) Batteries and Management System
8 | g) Web-based system energy monitoring system
9 | h) Cabling and miscellaneous components
10 | i) Grounding system and overcurrent protection devices
11 | j) Fire Extinguisher
12 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
13 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
14 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
15 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
16 | Design, Supply & Construction of a 0.4km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Kimbia, Region 10:
17 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
18 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
19 | Supply and Installation of service drops from the LV distribution network to the respective buildings
20 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
21 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
22 | Vegetation Clearing along distribution network/cable route
23 | Transportation of Material
24 | Design, Supply, Installation and Commissioning of a 41.5kWp Solar Photovoltaic inclusive of a 187kWh energy storage system in Wikki Calcuni, Region 10 as follows:
25 | a) PV modules
26 | b) Ground mounting structure
27 | c) PV Inverters
28 | d) Charge Controllers (If required)
29 | e) Hybrid Inverters
30 | f) Batteries and Management System
31 | g) Web-based system energy monitoring system
32 | h) Cabling and miscellaneous components
33 | i) Grounding system and overcurrent protection devices
34 | j) Fire Extinguisher
35 | k) Installation and commissioning materials for PV system (including all materials/components required for electrical interconnection to the community/public buildings mains AC Circuits and interconnection to the nearest community Wifi network to enable online monitoring of the PV Minigrid Installation)
36 | l) Auxiliary Services: Perimeter Fencing and Housing Infrastructure for batteries & Inverters
37 | m) Internal and External Lighting for the battery/inverter building, Perimeter Fence Lighting (Using Stand-alone Solar PV Lighting Fixtures) to provide adequate lamination for evening/night time hours at the site
38 | n) Lightning Protection equipment integrated into the Solar PV Array and BoS System.
39 | Design, Supply & Construction of a 0.7km Overhead Low Voltage 120/240Vac Electrical Distribution Network at Wikki Calcuni, Region 10:
40 | Supply and Installation of Secondary Poles (9 meters) inclusive of all hardware (using the shortest route from the Solar PV System equipment to the associated community/public buildings).
41 | Supply and stringing of 19 strand 4/0 AWG Lepas strand 4/0 AWG Lepas Aluminum Triplex Conductor and all required hardware for LV Distribution network
42 | Supply and Installation of service drops from the LV distribution network to the respective buildings
43 | Supply and Installation of Complete Guy Sets (Guys are required at all End Pole, Branch Poles, Heavy Angle Structures and on any pole structures that are susceptible to heavy loading (vertical, longitudinal, transverse and wind loads must be considered)
44 | Installation of Earth Sets (Earth Sets are required at all transformer structures, transformers, RCOs, the poles before and after the transformer structure and the last pole on any MV/LV circuit)
45 | Vegetation Clearing along distribution network/cable route
46 | Transportation of Material
TOTAL for LOT 4