18" STRIP FOUNDATION (1:2:3 MIX) WITH 3 NR. 1/2" MAIN BARS

3/8" STIRRUP @ 6" C/C

4" HCB TIED AT CORNER AND CAVITY FILLED WITH 1 NR. 3/8"" MAIN BAR AS STARTER

6'-6"

4" CAVITY FILLED (1:2 MIX) HCB KURB SEE CROSS SECTION FOR DETAILS

4" HCB TIED

WITH 1 NR. 3/8"" MAIN BARS AS STARTER

## 6'-6"

FOUNDATION PLAN

### Battery/ Inverter Facility

4" THICK GF SLAB (1:2:3 MIX)

4"

3/8" CORRUGATED BARS TIED 8" C/C IN BOTH DIRECTIONS DAMP PROOF MEMBRANE

4" HCB FOR KURB - CAVITY FILLED (1:2 MIX)

3/8" DIAMETER STARTER BARS @ 16" C/C - LENGTH = 4 - TIED ONTO MAT FDN.

2'

WELL COMPACTED WHITE SAND - 2' - HEIGHT OF KURB MAY VARY

EXISTING GROUND LEVEL

2"

6"

1/2" DIAMETER MAIN BARS

2" COVER TO SIDE, MAT STEEL FDN.

3/8" DIAMETER STIRRUP @ 6" C/C

2" THICK BLINDING (1:3)

6"

6" THICK WC SAND-FILL - THICKNESS MAY VARY

# 1'-6"

FOUNDATION CROSS SECTION - HEIGHT OF KURB MAY VARY

### Battery /Inverter Facility

7'-8"

7'-8"

4"

4"

5'-8"

3'

4"

COMBINER

BOX

6"

PANEL

INVERTER

6"

TRUNKING

BATTERY

5'-8"

8'-7"

RACK	B

DISCONNEIT

6"

3'-1"

8'-8"

TRUNKING

TRUNKING

BATTERY RACK

INVERTER

1'

6'

8'-8"

3'-1"

BATTERY RACK

8"

4"

2'

7"

4"

2'

2'

4"

STAIR	A

PLAN

#### 5'-8"

#### 2'-8"

#### 5'-8"

SECTION A-A	SECTION B-B

### Battery/ Inverter Facility

##### 7'-8"

1'

4" THICK ROOF SLAB (1:2:3 MIX) WITH 3/8" CORRUGATED BARS TIED 8" APART IN BOTH DIRECTION

##### 7'-8"

1'

2 ROW ENV. VENT BLOCKS COVERED WITH INSECT MESH

9'

4'-4"

8'-7"

8'-7"

4'-4"

9'

1 ROW ENV. VENT BLOCKS COVERED WITH INSECT MESH

7"

1'-6"

4"

4"

1'-6"

7"

8"	8"

2'

2'

2'-8"

5'-8"

5'-8"

2'-8"

ELEVATION (SIDE)	ELEVATION (SIDE)

### Battery/Inverter Facility

7'-8"

4" THICK ROOF SLAB (1:2:3 MIX) WITH 3/8" CORRUGATED BARS TIED 8" APART IN BOTH DIRECTION

4"

4"

7'-8"

4" THICK ROOF SLAB (1:2:3 MIX) WITH 3/8" CORRUGATED BARS TIED 8" APART IN BOTH DIRECTION

8'-8"

EXTERNAL WALL WITH 4" HCB WITH 1/2" RENDERING

4" HCB TIED AND CAVITY FILLED (ENDS) EXTERNAL DOOR - OPEN TOWARDS OUTSIDE

EXTERNAL WALL WITH 4" HCB WITH 1/2" RENDERING

8'-3"

4" HCB TIED AND CAVITY FILLED (ENDS)

4"

2'

4"

2'

4" (1:2:3 MIX) THICK GF SLAB WITH SPC FINISH	4" (1:2:3 MIX) THICK GF SLAB WITH SPC FINISH

5'-8"

5'-8"

ELEVATION (FRONT)	ELEVATION (BACK)

Battery/Inverter Facility